## Slide 1: Integral Field Spectroscopy: Strategies and Hands-On
Themiya Nanayakkara
JWST MASTER CLASS MELBOURNE 2022

## Slide 2: NIRSpec IFU Target Acquisition
Initial Slew to Target
Guide Star Acquisition
NIRSpec Target Acquisition
Science Observations
About 30 min duration
Star trackers and gyros
~11” 1σ radial coarse pointing accuracy
5 min duration
Fine Guidance Sensor
~0.10” 1σ radial fine pointing accuracy
0.007” radial stability
~8-15 minutes overhead (WATA) or about 30 min (MSATA)
~0.02” 1σ radial pointing accuracy
~6-8 milli-arcsec relative accuracy (radial) between dither and mosaic positions within a single visit

## Slide 3: NIRSpec IFU Target Acquisition
NONE
WATA
MSATA
VERIFY-ONLY
Ref star must not have brighter source within 2”
Methods:
Reference Star Suitability:
JWST FGS pointing accuracy (radial σ=0.10”)
Wide Aperture TA
radial σ=20 mas, 11-18 min overhead
Limited by bright (e.g. 2MASS) reference star availability
Using the MSA for TA
radial σ=20 mas, 24 –30 min overhead
Requires 8 fainter reference stars of compact sources
No TA
IFU + MSA imaging
8 –14 min overhead
ref star coordinate absolute accuracy 150 mas
38” visit-splitting limitation
J = 11.9-25.7 AB mag, depending on filter and readout
recommend accurate JWST or HST pre-imaging
K = 19.5-25.7 mag, depending on filter and readout
Notes: The default option, WATA, will suffice for most cases, but MSATA is offered when WATA is not feasible

## Slide 4: MIRI MRS Target Acquisition
NONE
Self-TA
Offset-TA
Methods:
Wide Aperture TA
Region of interest: 48 x 48 pixel
Science target no point source/too faint.
Science target not brightest within 48x48 pixels
JWST FGS pointing accuracy (radial σ=0.10”)
Reference Star Suitability:
Unsaturated (<5 Jy) point sources
Unsaturated (<5 Jy) point sources within visit splitting distance
Notes: - if science target is not a PS or it is too faint or it has any other source within the 48 pixel (~5”) window that is brighter, then one should use offset TA
The splitting distance ranges between 30"–80", depending on the Galactic latitude of the target, and is defined as the total distance between the TA and science exposures which is the combination of:
- The distance between the TA target and science target.
- The distance between the TA aperture and the science aperture.
If the TA target is not within this visit splitting distance, the observation will not be schedulable by the APT Visit Planner. Users are encouraged to check whether their program can be scheduled when using off-source TA targets.
If feasible, using an offset TA target should be considered in the following scenarios:
The science target is spatially resolved, resulting in a higher uncertainty on the centroid location (see section below).
The science target's spectral energy distribution is not well know in the MIRI TA filters, leading to an uncertain estimation of the exposure time and SNR.
The science target requires a long (~100 s or longer) integration to reach SNR of 20.

## Slide 5: NIRSpec IFU Dithers
Nod: large offset for point/small source separation, used by pipeline to subtract background
  2-point nod
    1.6” in X and Y (point source separation)
  4-point nod
    1.6” box (separation and dithering)
  TA recommended so nod remains in-scene
Dither: small offset for detector defect mitigation and better sampling
  4-point dither
    0.4” box
Cycling: For PSF and detector sampling
  Cycling (1-60 point pattern)
    First 9 points resemble a 9-point dither pattern, after this it is random
    Small, Medium or Large spacings
  Sparse Cycling (1-60 point pattern)
    User can choose specific points from pattern
    Small, Medium, or Large spacings

## Slide 6: MIRI MRS Dithers
All MRS observations benefit from dithering
  MIRI is a factor 2 spatially under sampled
  Pattern determined by Primary Channel and Point or Extended source selection in APT
    Primary: Ch4 dither will move source out of Ch1 FOV!
    Direction (Positive or Negative) rotates pattern 43º for Point source
  2-pt dither pattern
  4-pt dither pattern
  4-pt ALL preferred for point or extended sources
Notes: in APT one can specify which is the primary channel. The dither pattern is then defined by this. There is also the option ALL (so that it fits into all channels) but that is the same as Channel 1 (since this is the smallest one)
There are two different directions, positive and negative and they rotate the pattern
In pricinple one could have 8 dither points with this if one chooses the four point dither pattern in both directions
If one chooses channel 4 as primary channel this will move the target out of channel 1

## Slide 7: Mosaics and Target Groups
Mosaics
  Small region
  Regular pattern
  Overlap or no overlap
  May be used for backgrounds
Target Groups
  Multiple, linked pointings
  Stay within visit-splitting distance
  Defined observations are replicated on each target
  Useful for offset backgrounds

## Slide 8: Offset Background Observations
NIRSpec IFU
  Not all observations require offset backgrounds. Check with ETC
  Offset backgrounds suggested for:
    Faint extended targets
  Use target groups or mosaic within visit-splitting distance to avoid variable background and non-repeatable grating settings
MIRI MRS
  Most extended source observations require offset backgrounds. Check with ETC
  Isolated point source observations may not require offset backgrounds

## Slide 9: NIRSpec IFU Exposure Parameters
READOUT
  IRS2
    NRSIRS2 (5 frames per group) reduce data volume
    NRSIRS2RAPID (1 frame per group) recommended
  TRADITIONAL
    NRS (4 frames per group)
    NRSPRAPID (1 frame per group) for bright sources
GROUPS
  2 or more recommended for accurate calibration
INTEGRATIONS
  <1500 sec recommended to mitigate cosmic rays
EXPOSURES
  Number must be the same for all detectors
  No explicit limit on exposure time

## Slide 10: MIRI MRS Exposure Parameters
READOUT
  SLOW mode
    Fewer detector artifacts and slightly lower noise
    Limits data rate when including NIRIM or parallels
  FAST mode
    Current default for MRS (except when data volume is an issue)
    Available for bright targets
    May be advantageous for expected high CR-rates (stay tuned)
GROUPS
  5 or more recommended for calibration
INTEGRATIONS
  1 integration recommended to maximize groups and best slope fitting (except for bright targets and high background, then multiple integrations are beneficial)
  <1000 sec recommended due to expected cosmic rays
EXPOSURES
  Number must be the same for all detectors

## Slide 11: NIRSpec Leakage
IFU observations may be affected by MSA light leaks
  Stars in open MSA shutters or bright star print-through
  Print-through from diffuse backgrounds (<3-10%)
  Solution: Leakcal Observation - extra exposure with the IFU closed
Guidance on when Leakcal observations are necessary
  Depends on source vs spoiled signal
    Print-through important for stars >500x brighter than target
  Crowded stellar field
  Bright structured background (e.g. nebulae)
Mitigation Strategies
  Orient constraints
  Dithering (at 4 or more points) to reject stellar leaks
  Single Leakcal at one position to remove diffuse leakage
  Full set of Leakcals at every pointing is expensive
    Full or shorter exposure

## Slide 12: MIRI MRS Simultaneous Imaging
Default operational mode for the MRS, not a parallel imaging mode.
Why is it useful?
  Improved the astrometric accuracy of the MRS observation
  Used to obtain additional science observations in an adjacent field of view
Should only be turned off if there are very bright targets in the imager field of view
Simultaneous imaging will not be available for the MRS time series observations

## Slide 13: Need help making a decision?
Several decision processes are described in the J-Dox:
  https://jwst-docs.stsci.edu/jwst-recommended-observing-strategies