## Slide 1: Wide Field Slitless Spectroscopy (WFSS, pronounced Weefiss)
Colin Jacobs
JWST MASTER CLASS MELBOURNE 2022

## Slide 2: Grism Spectroscopy Basics

## Slide 3: Dispersion by a Prism

## Slide 4: Diffraction of a Point Source

## Slide 5: Grism Diffraction - Monochromatic Light

## Slide 6: Grism Spectroscopy

## Slide 7: Grism Spectroscopy + Blocking Filter

## Slide 8: Blaze Wavelength and Undeviated Wavelength
The angles of the prism faces determine the diffracted beam deviation sideways.
The angle of the grating facets determine the blaze wavelength, i.e. where most of the power is directed.

## Slide 9: Deviated Spectrum

## Slide 10: WFSS with NIRISS
Undeviated Wavelength

## Slide 11: Due to deviation (and spectrum length) - FOV is smaller
Area lost
NIRISS

## Slide 12: Effect is important for NIRCam
Area lost
Partial spectra
Module A
Module B
Full spectra
Field of View
Detector

## Slide 13: NIRCam WFSS Traces Example

## Slide 14: Wavelength Calibration Using a Direct Image
To wavelength calibrate spectra in your field, a direct image is needed to identify the true sky position of each target.

## Slide 15: WFSS Side-by-Side Specs
NIRISS | Instrument | NIRCam
~150 | R | 1200-1600
0.8-2.2 microns | Wavelength Coverage | 2.4-5.0 microns
A little less than 2.2’x2.2’ FOV | Full Spectrum FOV | Depends on the filter ~1/3 of 2.2’x2.2’ FOV 2 Modules simultaneously!
F090W, F115W, F140M, F150W, F158M, F200W | Filter | F250M, F277W, F300M, F322W2, F335M, F356W, F360M, F410M, F430M, F444W, F460M, F480M
Low Background | Background | For many filters, need background subtraction
NIRCam Imaging or MIRI Imaging | Coordinated Parallel | MIRI Imaging or NIRISS Imaging. Plus, get simultaneous NIRCam imaging in shortwave channel

## Slide 16: 2 Orthogonal Grisms to Mitigate Contamination

## Slide 17: Same for NIRISS

## Slide 18: Optimal FOV for NIRCam is Small
GrismC
+
GrismR

## Slide 19: A Word About Background
NIRCam WFSS benefits from many dithers to construct and subtract a “background” image.

## Slide 20: WFSS Strengths and Weaknesses (Compared with MOS/Slit Spectroscopy) - Operation-Wise
WFSS has no slit so the whole FOV contributes to the background —
No slit loss +
No need for a pre-imaging survey. Can do a blind survey of whole FOV +
Wavelength calibration requires direct images co-observations —
Constraints on field position angle is loose (facililates mosaics) +
Wavelength range is limited to the width of a blocking filter —

## Slide 21: WFSS Strengths and Weaknesses (Compared with MOS/Slit Spectroscopy) - Science-Wise
WFSS is ideally suited for blind emission-line surveys and detection of continuum breaks in high-z galaxies +
Ideally suited for detection of high redshift galaxies : for example, Lyα emission line at z > 5.6 - 17 with NIRISS, and Lyα at z > 18 and optical Hα emission lines at z =2.8 – 6.6 with NIRCam +
Spatial resolution allows to map emission lines on physical scales of few kpc across redshifits (z>2) +
For an extragalactic blank field, there are ~ 3000 faint galaxies with < 28 AB magnitude +/—
Can use Coordinated PARALLEL NIRCam Imaging or MIRI Imaging +

## Slide 23: Simulated 2-hr NIRCam/Grism+F356W Spectrum
Continuum down to ~24 AB mag (~ 1 μJy)
Emission lines down to ~2x10-18 erg cm-2 s-1
Hβ
[ΟΙΙΙ] 4959/5007
EW([OIII] 4959/5007) = 200/600 Å
EW(Hβ) = 180 Å

## Slide 24: WFSS Operations

## Slide 25: NIRISS Operations
Direct
GR150C
GR150R
GR150C
GR150R
GR150R
GR150C
dither
Direct
Direct
Direct
No Dither
Dither = 2
Dither = 3,4,6,8,12,16

## Slide 26: NIRISS Operations
Direct
GR150C
GR150R
GR150C
GR150R
GR150R
GR150C
dither
Direct
Direct
Direct
No Dither
Dither = 2
For each blocking filter
For each blocking filter
Dither = 3,4,6,8,12,16

## Slide 27: NIRISS Operations
Direct
GR150C
GR150R
GR150C
GR150R
GR150R
GR150C
dither
Direct
Direct
Direct
No Dither
Dither = 2
For each blocking filter
For each blocking filter
Dither = 3,4,6,8,12,16
Single Grism

## Slide 28
DIRECT
GR150R
GR150C
GR150C
GR150R
NDITHER=2
GRISM=BOTH
1 filter
DIRECT

## Slide 29: NIRISS Operations
Option to use single grism (GR150C or GR150R) or BOTH
Dither Pattern Size: SMALL (0.3”), MEDIUM (0.6”) or LARGE (1.2”)
Always use FULL array for science mode

## Slide 30: NIRCam Operations
Direct
GRISMR
Single Grism - No Direct Image
dither
GRISMR
dither
…
GRISMR
Single Grism - With Dithers and Direct Images
GRISMR
dither
Direct
GRISMR
dither
…
Direct
Out of Field #1
dither
Direct
Out of Field #2
dither
Not recommended (if even allowed)

## Slide 31: NIRCam Operations
Direct
Both Grisms - With Dithers and Direct Images
GRISMR
dither
Direct
GRISMR
dither
…
Direct
Out of Field #1
dither
Direct
Out of Field #2
dither
Direct
GRISMC
dither
Direct
GRISMC
dither
…
Direct
Out of Field #1
dither
Direct
Out of Field #2
dither
1st
2nd
Add more such sequences if other blocking filters are needed

## Slide 32
NDITHER=2
GRISMR
1 filter
GRISMR
GRISMR
DIRECT
DIRECT OUT OF FIELD #1
DIRECT OUT OF FIELD #2

## Slide 33: NIRCam Operations
It is advised to take a direct image in the same blocking filters for the purpose of accurate wavelength calibration. The NIRCam WFSS sequence does not include the direct images in the same cross filter by default.
Short wavelength imaging will occur simultaneously with the grism integrations which typically have long integrations. Saturation in the SW imaging can be a concern and can be mitigated with suitable choice of filters and exposure parameters.
Transmission of the Module B grism is 25% less than that in Module A because it lacks AR coating on one surface.
Coordinated Parallel (MIRI or NIRISS imaging) is allowed with NIRCam WFSS.
For red filters, background subtraction is important. You need several dither positions to build up the sky image.

## Slide 34: End of the WFSS Session
B335 Dark Cloud
K-band, 3.2 hrs
UKIRT
NIRCam + F430M
1 sec
Faint stars added
NIRCam/Grism + F430M (30 sec)
CO2 ice absorption @4.3 μm will be seen in the spectra of the background stars.

## Slide 35: Supplementary Material

## Slide 36: Sensitivities compared with NIRSpec
credit: E. Egami